|  | Development and Integration of Modular Assemblies with Reduced Services for the ATLAS Silicon Strip Tracking Layers |
| --- | --- |
| ATLAS Upgrade Document No: | Institute Document No. | Created : 08/03/2006 | Page: 1 of 15 |
|  |  | Modified : 15/06/2006 | Rev. No .: 2.00 |

| Abstract For high luminosity running at the upgraded LHC (sLHC) the segmentation of the tracking will have to be increased by a factor of 5-10 times. In this proposal we focus on the barrel tracking layers outside a 20 cm radius (outside the pixel region). We study the concept of modular assemblies (“staves”) which each contain a large number of individual tracking modules. Such an approach can lead to material and services reduction and less complexity and cost in design, assembly, and integration. This proposal addresses the needed R&D to develop a tracker which can function after an integrated luminosity of 2,500 fb-1 at the sLHC under PBS 1.1.4 and 1.1.5 The R&D program will include: Prototyping of a simplified stave with long strips Study of powering options (DC-DC, series) on the stave Study of mechanical and cooling issues within a long stave structure Design of full scale staves meeting sLHC specifications (long and short strip) Prototyping and measurements of full scale stave structures Development of DAQ tools for parallel module tests on staves on the bench Work with industrial partners to develop sources for components Development of prototype assembly tooling and processes The goal of the program is the design and prototyping of practical stave structures and assembly procedures which will meet the specifications for the upgraded ATLAS tracker. The structures developed will accommodate both short strips for the intermediate radius region (20cm – 60 cm) and long strips for the outer radius region (> 60 cm). The proposal is submitted by ATLAS institutions with expertise in development of silicon strip systems and new institutes joining for the upgrade. The former also had major involvement in the successful design, construction and testing of the ATLAS SCT. In addition, the institutes have secured upgrade R&D funding from their national funding agencies. Submitted by Brookhaven National Lab, Lawrence Berkeley National Lab, the, the University of California at Santa Cruz, Hampton University, New York University, and the University of Milano. |
| --- |
| Prepared by: C. Haber (Lawrence Berkeley Lab) M. Gilchriese (Lawrence Berkeley Lab) | Checked by: ATLAS High Luminosity Upgrade Steering Group | Approved by: |
| Distribution List ATLAS High Luminosity Steering Group |

# 1        Introduction

The luminosity increase expected for the LHC upgrade (“Super-LHC”, “sLHC”) requires a critical evaluation of the tracking performance of the proposed all-silicon tracking detector in the Inner Detector (ID) of the upgraded ATLAS detector [1]. Compared with the LHC, the higher instantaneous rate requires re-optimization of the tracker granularity, i.e. the strip geometry as a function of radius. To maintain the occupancy and merged cluster rates specified for the pre-upgrade SCT, the segmentation will have to increase by a factor of 5-10 and the straw tubes will be replaced by silicon strips.  In a baseline concept for a sLHC tracker, the innermost radial region is covered by pixel detectors, and starting at a radius of about 20 cm, the mid-radius region is covered by short strips (of length ~ 3 cm) and the outer region beyond about 55 cm by long strips (of length ~ 10 cm).

A typical barrel layout of an sLHC tracker was discussed at the Genoa Meeting of July 2005.  This is represented in Figure 1.

Figure 1: Proposed barrel layers of the ATLAS sLHC tracker.

This layout could consist of two basic units, a short (~1 meter) stave in the region between 20 and 50 cm and a long stave (~2m) beyond 50 cm.  The short stave would consist of detectors with ~3cm strips, thereby increasing the granularity over the present SCT.  The long stave would consist of detectors with ~10-12 cm strips, replacing the TRT.  Figure 2 indicates some basic configurations for these staves. The long stave design represents an extreme case for services, cooling, and mechanical performance.  Table I indicates some starting assumptions for stave specifications.

Table I: Basic Stave Specifications (nominal)

| Property | Short stave | Long Stave |
| --- | --- | --- |
| Width | 6.4 cm | 12.8 cm |
| length (nominal) | 98 cm | 192 cm |
| detector width | 6.4 cm | 12.8 cm |
| detector length | 3 cm | 10-12 cm |
| detectors per side* | 15-18 | 12-16 |
| gap between detector along the stave | 2.4 cm | 3 mm |
| detector thickness | 280 microns | 300 microns |
| number of strips | 768 | 768 |
| strip pitch | 80 microns | 160 microns |
| Power in front end chips (per hybrid) | 3 watts | 3 watts |
| Power in silicon – no dose (per crystal) | 1 milliwatt | 2 milliwatt |
| Power in silicon – high dose (per crystal) | 1 watt | 2 watt |
| Maximum temperature at silicon | -25 C | -10 C |
| Maximum temperature variation | <5 C | <5C |
| Max detector position shift from nom Dy | 30 microns | 30 microns |
| Max detector position shift from nom Dx | 30 microns | 30 microns |
| Survey accuracy Sy | 5 microns | 5 microns |
| Survey accuracy Sx | 10 microns | 5 microns |
| Survey accuracy Sq | 0.13 mRad | 0,13 mRad |
| Ladder sag maximum** | 60 microns | 60 microns |
| Ladder sag stability*** | 25 microns | 25 microns |

*actual number will depend on details of layout, this is a likely range for design purposes

** this is for the staves at 12 and 6 o’clock positions around the barrel which have the most gravitational sag.  The sag direction is down, along a radius of the barrel. This requirement could be relaxed if an appropriate and rad-hard monitoring method was found to track the stave positions.

*** with this level of stability short term drifts (between track alignment surveys) should have an insignificant effect of the axial phi coordinate resolution.

In a stave design the redundant support of passive barrels would be avoided.  The staves would instead be held on a set of “endplate” discs tied together with a minimum set of passive barrels.  This is indicated schematically in Figure 3.

Figure 2: Generic concepts for the long (top) and short (bottom) staves of the ATLAS sLHC tracker. In this figure the long stave has 16 detectors 12 x 12.4 cm on each side.  The readout electronics (not shown) would be placed over the detector and be serviced by an embedded bus cable.  The short stave is here shown with 18 detectors 3 x 6.4 cm on each side.  The readout electronics (not shown) would be placed in the gaps between adjacent detectors.  The detectors on the opposite side are staggered to provide complete coverage.

Figure 3: Endplate support for the stave layers.  Barrels would exist at 100 and 20 cm only.

This proposal focuses on the development of the staves and their components and includes:

- Engineering of prototype barrel staves for both the inner and out regions of the strip layers including materials and geometry.  The long stave design represents and extreme case and therefore serves to explore the limits of this approach.

- Fabrication, assembly and test (mechanical and electrical)  processes

- Stave internal electrical interconnections

- Hybrids

- Detailed thermal and mechanical simulations of stave structures

- Study of alternative powering schemes and their test and implementation in stave prototypes.

It should also be understood that the tracker development effort is still in an early stage.  The concepts being  described here are a path, to illustrate a concrete route to a design on the required time scale. This will serve to identify issues and solutions, but there are likely to be other concepts to be evaluated before any convergence on a final design can be achieved. As more resources becomes available as other groups join the effort, other concepts will be evaluated and, if promising, will be considered by the group as a whole before coming to a final design.

Other proposals to the sLHC Steering group address the silicon strip detectors (SSD) and the front end electronics (FEE).  This proposal can support the integration of SSD and FEE with staves.  There is significant overlap in personnel between this and the SSD and FEE proposals. It is expected the efforts would remain in close contact and coordination.  In particular detector, electronics, and stave geometries would be determined coherently.

We would also expect other, as yet to be proposed R&D efforts, would relate to and overlap the stave effort.  These include development of a cooling technology and system for the upgraded tracker, development of an overall mechanical support structure (endplate and/or barrels etc), and broader studies of alternative powering options.

To be clear, this proposal does not include:

- Development of SSD

- Development of FEE

- Detailed engineering of the overall support structure, endplates and barrels (indicated in Figure 3). It will be assumed that supports will be located at certain fixed positions.

- Detailed engineering of the cooling system., we will assume certain temperatures and gradients are available based upon the thermal mechanical simulations.

- Design of the forward/backward disc layers.

- Development of the optical links.  It will be assumed the links are accessed at the outside end of staves and copper connections are used within the stave.

- Development of new alternative powering architectures or circuits.  We do however plan to test available circuitry on the prototype staves to evaluate noise, performance, and stave design issues.

# 2        Participating Institutions

USA	Brookhaven National Laboratory		D.Lissauer, D.Lynn, P.Nevski

Hampton University				K.Baker, K. MacFarlane

University of California at Santa Cruz	A.Grillo, A.Seiden, H.Sadrozinski

Lawrence Berkeley National Laboratory	C.Haber, M.Gilchriese, W.Miller (consultant), R.Ely,

M. Garcia-Sciveres

New York University				P. Nemethy, A. Mincer, R. Djilkibaev

Italy	Milano     					M. Citterio

# 3        Topic(s) and goal(s) of the R&D proposal

This proposal aims at developing highly modular components for the silicon strip layers of an upgraded ATLAS tracker under PBS 1.1.4 and 1.1.5.  Such a tracker would be considerably larger in terms of silicon area and channel count than the present SCT+TRT subsystems.  A key aspect of this R&D is to dramatically reduce the services burden which would otherwise overwhelm ATLAS.  The basic element of this new tracker will be a “stave”, a single unit which will integrate (approx) 30 individual modules into a structure which provides mechanical support, cooling, and electrical services.  We will explore services reduction by providing power in alternative ways such as with serial current or with DC-DC converters.  This integrated approach can reduce material in a number of ways.

    - The stave supports the modules, eliminating the redundant barrel supports

    - Electrical services are provided by a single bus cable to all modules

    - Cooling is in common to all modules on a stave

    - Cables are reduced using alternative powering such as series power

This approach can simplify the manufacture and reduce cost. With a limited number of module and stave designs the tooling effort and cost is reduced.

After a three-year R&D program, an ATLAS specific stave would be designed, built, and tested.  All the basic issues of mechanics, cooling, electrical performance, and assembly would be investigated.  In the following, the planned tasks are discussed briefly together with their principal issues. Table II shows the distribution of tasks among the participating institutions.

The R&D program will include:

- Prototyping of a simplified stave with long strips

- Study of powering options (DC-DC, series)

- Study of mechanical and cooling issues within long stave structures

- Design of full scale staves meeting sLHC specifications (long and short strip)

- Prototyping and measurements of full scale stave structures

- Development of DAQ tools for bench top parallel module tests on staves

- Work with industrial partners to develop sources for components

- Development of prototype assembly tooling and processes

- Prototyping of a simplified stave with long strips

As a beginning of the stave investigation we will utilize existing and well understood components to test the behavior of ATLAS style readout in a multi-module configuration.  Stave structures have already been used in CDF [3] and CMS.  To the extent practical we will utilize this prior experience as well.  The simplified stave will use the ABCD-3T chips mounted on new hybrids.  The geometry will be similar to a long strip configuration (for the outer layers).  This work is already well underway as part of early sLHC R&D in the US.  Figure 4 shows the prototype 6 module stave, Figure 5 is an expanded view of the structure and Figure 6 is a cross-section.

Figure 4: Prototype 6 module stave.  Scale is ~60 cm.  Design represents a fraction of the proposed long outer stave layer.

All stave components are currently in hand.  Elements of this prototype are under test at present.  The prototype addresses some of the issues of signal and power distribution for integrated structures.

Figure 5: Expanded view of stave and components

Figure 6: Cross section of stave

- Study of powering options

In the present SCT separate power and signals are brought to each module.  This is not practical for a much larger system.  Two alternatives which promise to dramatically reduce the cable burden, serial powering (SP) and DC-DC (DCPP) converters, will be studied. Both schemes would solve the cable congestion problem. At the same time, they offer large savings in passive material, much increased power efficiency and much reduced costs [4, 5].  A second version of the simple stave of a) will be built and tested with serial powering.   In future iterations DCPP powering may be implemented as well.

Serial powering was explored for ATLAS pixel detectors and looks promising [4]. Its application in large scale strip detectors hinges on achieving good electrical performance in a closely coupled complex electronic system with multiple grounds, and understanding and suppressing failure mechanisms. The challenges in DC-DC conversion parallel powering are related to the reliability and noise injection of the switched capacitor DC-DC conversion chip and in minimizing failure mechanisms.

To explore the prospects of SP and DCPP in large silicon strip detector systems systematically, we propose the following program.

1.	Test of serial powering with ATLAS SCT modules

The RAL group has already built and tested a simple serial powering PCB carrying a commercial shunt regulator, a voltage regulator, and LVDS buffers. Using these boards they operated ATLAS SCT modules powered in series on the SCT DAQ system. First results on this set-up are encouraging [5] and were presented already at the Genoa workshop. The concept will be extended to test up to 6 modules in series; to measure the actual power savings for different cable resistances and compare them with our estimates; to inject an AC noise current into the system and determine its response; and to look for signs of common mode noise in dead-timeless operation.

2.	Grounding and interference issues in a densely packed detector system

The SCT modules used for the noise tests described above are geometrically separated and contained in shielded boxes for protection. In a real detector system, the detectors are much closer to each other, which can give rise to various interference mechanisms. A stave is the ultimate test bed for serial powering. After construction of the first stave (Section 3a), we will build a stave for serial powering operation. A miniaturized version of the serial powering board described in 3b-1, above, will be developed at RAL, suitable for placement on a silicon sensor adjacent to the hybrid. This board will be used for the serial powered stave.  Full electrical system tests will be performed on this serial powered version of the prototype stave.  The parts in hand (hybrids, detectors) are already compatible with a serial powering configuration which included this extra interface card.

Demonstrating satisfactory noise performance on such a serially powered stave is the major goal of this step

3.	Develop a redundancy and failure protection scheme

Serial powering could lead to the loss of a large number of modules if the current supply is interrupted due to a single-point failure in the system. It is crucial to eliminate failure mechanisms e.g. a breakdown of the regulators or readout chips. This step of the project is largely independent of 3b-1,2  and will be pursued in parallel.

We will identify and analyse the various failure modes systematically and then design and test circuitry providing maximum protection against them. The failure modes depend on the implementation of the regular circuitry, with either one regulator unit or several regulator units in parallel. The protection circuitry can be tested either on the stave (if space permits) or with the setup for SCT modules.

4.	Integration of the serial powering circuitry into a new front-end readout chip

For a final implementation of serial powering, regulators and LVDS buffers may eventually be contained in the front-end readout chip or a dedicated ASIC. The design of a new front-end chip is addressed in a different ATLAS SLHC proposal [6]. Perhaps we can provide the starting point for it by providing the schematics for serial powering building blocks adapted for integration into a front-end chip layout. Work on this step would be done in collaboration with CERN IC designers and other collaborators. The final results of the stave tests might influence the circuitry and thus this part of the project cannot be completed before the stave testing results are conclusive. On the other hand, a new front-end chip with serial powering circuitry should eventually be evaluated using a stave.

A similar program is envisaged for DC-DC (DCPP) conversion schemes.  LBNL has submitted a prototype chip based on the design presented at the Genoa workshop [7] and laid out in the Austria Microsystems 0.35 micron HV process.  This chip will be used to build a prototype power supplies for both the present 0.25 micron pixel front end chip and the prototype .13 micron pixel front end chip.  These supplies will be used to measure the noise associated with the switched capacitor technology and for studies to maximize the efficiency of the DC-DC conversion process.  LBNL will also study the radiation hardness of the AMS process by irradiations at the LBNL 88 inch cyclotron.  Failure modes of DCPP schemes are frequently orthogonal to those of serial powering and will be analyzed as well.

The silicon strip stave prototypes for the outer layers of the ID upgrades are being designed with interface boards external to each hybrid that could be used to implement serial powering or DC-DC conversion, depending on the flavor of adapter used.

More details regarding the proposed new powering schemes are given in [8].

- Study of mechanical and cooling issues for long stave structures

As described, the inner stave will be (typically) 1 meter and the outer stave (typically) 2 meters long.  These staves will be supported by discs at some (minimum) number of locations.  The gravitational sag and stability of the stave must be controlled as determined by performance and interference specifications.  Using mechanical design and FEA methods the geometrical and physical (sag, resonance frequency, thermal properties) parameters of long staves will be studied and determined.  These results will be input to the design of full scale staves.

Detailed mechanical and thermal modelling of the stave structures and their connections to supporting bulkheads are already underway.  The initial work has concentrated on modelling of the short stave, approximately 1 m long.  The model includes all of the components of the stave – detectors, hybrids, electronics, bus cable, composite supports, cooling tubes, and closeouts.  Studies of gravitational deflections (sag) are underway with various assumptions on the geometry and supporting boundary conditions.  An example of a finite-element model of the maximum gravitational deflection for a 96 cm long stave is shown in Figure 7.  We propose to control gravity sag by preferentially orienting most of the stave composite fibers along the stave axis.  For the illustrated solution, 4 times as many fibers are placed in the longitudinal direction as in the lateral, achieving tensile modulus greater than steel.

Figure 7:  NASTRAN solution for stave gravity sag with aluminum cooling tubes.  Distortion scale is in meters, with peak resultant distortion of 66.7µm; essentially all deflection is in the Y-direction, normal to the stave.

Studies of distortions that result from mismatch in thermal properties of the various materials comprising a stave have been initiated using a 32cm stave section.  Cooling the assembly from room temperature to -25ºC is used to quantify this effect.  The results indicate that distortions are within an acceptable range, largely due to the stave detector elements being mounted on both sides, albeit with a shift to provide the desired strip coverage.  A distortion pattern tracking the above and below alternating strip and hybrid placement is evident in Figure 8.

Figure 8: Thermal strain solution for 50ºC temperature change (room temperature to -25ºC), with aluminum cooling tube.  Alternating detectors above and below on the stave produces a low amplitude cyclic pattern (10.6microns).  Stave composite facings are constructed with 4 to 1 fiber orientation.

Stave cooling is accomplished by a dual pass evaporative cooling circuit, located between the stave composite facings.  Cooling entrance and exit for the 96cm stave model occurs at one end, forming a long U-shaped passage between the stave composite facing.  Preliminary thermal solutions have been made for both aluminium and PEEK coolant tube materials using the short 32cm stave section (Figure 9).  Enhancing the lower thermal conductivity PEEK material with carbon-fibers produces acceptable thermal performance, although an aluminium tube provides the best performance by a noticeable amount.  The difference in peak chip temperature between the two materials is ~4 ºC, with nearly the same difference in strip detector temperature.  In each case, the coolant reference temperature is -25ºC but there is no temperature gradient along the direction of the coolant flow in this model. The temperature difference between the reference temperature and the silicon detectors is less than about 3oC(5oC) for the aluminium(carbon-filled PEEK) coolant tubes.

Figure 9: Comparison between Aluminium and carbon-fiber filled PEEK cooling tubes using the 32cm long stave model.  Each chip is dissipating 0.5W.  Chips are mounted on a BeO hybrid

These modelling studies will continue in the first half of 2006 and expand to include models of longer staves.  The influence of the connections to supporting bulkheads will also be studied. The appropriate next step after completing the initial modelling studies would be to fabricate a full-length (about 1m) stave that is close to complete mock-up of the mechanical and cooling properties.  The electronics and detector heat sources would be simulated, possible with resistive metals deposited on silicon of the correct size as was done extensively for the current ATLAS pixel system.  The mock-up would be instrumented with thermal sensors; infrared thermography would also be used to measure temperatures and compare with the FEA modelling.  Distortions under thermal loads would be measured using techniques employed for the ATLAS pixel project, direct optical imaging and measurement, and separately with TV holography.  The goal would be to validate the modelling of both mechanical and thermal properties.  The design of this mock-up could begin by about mid-2006, with fabrication to follow in the 2nd half of 2006 and then the measurement program in early 2007.

The finite-element modelling has been and will be done by Mr. William Miller of Innovative Technologies International (ITI).  Mr. Miller has had extensive experience in modelling of the ATLAS pixel support frame and local supports (and many other projects).  The mechanical mock-up design would be done by Mr. Miller and LBNL.  The fabrication of the mock-up and testing would be the responsibility of LBNL.

- Design of full scale staves meeting sLHC specifications (long and short strip)

This effort will be done in concert with the SSD development (PBS 1.1.2) and the FEE development  (PBS 1.1.3), if sufficiently far along.  Based upon the results of a), b), and c) a full scale ATLAS stave(s) will be designed.  This includes the design of various components including hybrids, bus cables, and interface cards.  Conceptually this effort mirrors a) above but is particularly sLHC specific and integrates the first and second year developments.

One scheme would extend naturally from the concepts of Section 3a and the mechanical considerations of Section 3c, and result in a design similar to that shown in Figures 4-6 but geometrically like Figure 2 for the required length.  This concept may be the most compact, low mass, and economical.  It would however go beyond certain specifications adopted for the present SCT.  For example hybrids would be glued directly on the active silicon in order to achieve a direct thermal path to the embedded cooling lines.

A possible alternative stave concept starts from the SCT barrel module design (see Figure 10) which was optimised to separate the ASIC and sensor thermal paths to the cooling. In the SCT barrel module design, the cooling block is available at one end of the hybrid structure and the Cu/polyimide flexible multilayer circuits carrying the ASICs are wrapped around the sensor sandwich with a thermalized pyrolytic graphite (TPG) baseboard between the front and back sensors. [9] The TPG provides a highly conductive cooling path directly to the cooling block. The hybrids are supported away from the silicon surface with only connections via wire-bonds down to the surface. They are laminated to a carbon-carbon substrate which provides an independent low-mass connection to the cooling.

Figure 10: ATLAS SCT Barrel Module

This approach, being developed in parallel to that described in section 3a, has been presented at conferences and within ATLAS workshops[10]. (See Figures 11a and b)

e Figure 11a: 9cm Wide Ministrip Stave (50µm Pitch)   Figure 11b: Thermal simulations including

effects of silicon self-heating after irradiation

The intention will be to explore this concept with other possible strip pitches and to better optimise the design to reduce the inactive width (assuming a single-sided option can be appropriate with the only z measurement coming from the 3cm granularity in that direction). Designs more consistent with that described in Section 3a will be studied and the aim will be to converge rapidly on a single design concept, appropriately optimised to cope with the concerns over thermal runaway. This issue strongly influenced the current ATLAS module designs and the problem is expected to be more extreme at sLHC requiring 20oC lower sensor temperature for any given design. Whether this implies a similar bridge structure is needed or not will be part of the simulation and prototyping studies of this programme.

It should be noted that there are several other module/stave macro-assembly concepts for the sLHC tracker also under discussion within the SCT community. Groups still heavily involved in the delivery of the current tracker have expressed a strong desire to be able to join this activity at a later stage when they have the necessary effort available. The prototype described in Section 3a provides an excellent test-bed for addressing a wide range of issues and a clearly defined programme of work that can be undertaken immediately. However, the evolution towards to final concept will inevitably involve the widest possible participation of the available experts from the full collaboration.

- Prototyping and measurements of full scale stave structures

Full scale staves will have to be characterized electrically and mechanically.  Considerable experience exists from the SCT and Pixel efforts in this regard already.  On the electrical side a key aspect will be to understand system level effects.  These include:

  - Failure modes and behavior of the alternative powering circuits

  - Noise and interference due to operating multiple modules on a common stave.  This is an aspect which was basically absent at the module testing stage of the SCT.  It will have to be in-place from the start for stave.

Mechanically we will exploit both the small scale optical metrology methods and the larger scale interference based methods to perform QA and analysis on these large objects.

- Development of DAQ tools for parallel module tests on staves

The present SCT bench test DAQ is designed to test small numbers of modules.  The ATLAS DAQ lacks some of the flexibility required to study a ~30 module stave.  Since the time these systems were developed considerable advances have occurred in commercial high speed digital DAQ for multi-channel systems.  Exploration of such alternatives is already underway with consultations with vendors and parts on order for evaluation.  The procurement and development of this multi-module testing capability is part of currently funded efforts.  This effort does not represent an attempt to develop a new tracker DAQ for ATLAS.

- Work with industrial partners to develop sources for components

The overall philosophy of the stave approach is to simplify the design and construction.  None-the-less certain high-performance custom components are foreseen already.  These include:

  - Beryllia (BeO) fine pitch hybrids

  - Long flexible cables

  - Fine pitch thin film fan-outs

  - Carbon-fiber laminations

  - Power management components

As part of the on-going prototyping efforts described in a) and b) above vendor sources for these components have been developed.  This will continue and second sources will be found for critical components.

- Development of prototype assembly tooling and processes

Considerable experience exists in the collaboration from the SCT module assembly.  Stave assembly mirrors this but the items are now much larger.   As part of the sLHC specific stave activity we will incorporate and extend the SCT experience in order to study the assembly and inspection of these large scale objects.  To some extent also these issues are explored in the simple stave prototype effort of a).  A results of this aspect could be an estimate of the assembly time, cost, and other requirements.

Table II : Activity Matrix of the Participating Institutions

| Institution | Simplifed Stave | Powering Options | Mech & Cool | Full Staves | Tests | DAQ | Industr. Partner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BNL |  | x | x | x | x | x | x |
| Hampton |  |  |  |  | x | x |  |
| UCSC |  |  |  | x | x |  |  |
| LBNL | x | x | x | x | x | x | x |
| Milano |  | x |  |  |  |  |  |
| NYU |  | x |  | x | x |  |  |

# 4        Relation to existing efforts

The proposed R&D program will work closely with existing ATLAS upgrade efforts, as shown in the following. There is much personnel overlap with many of these programs.

- Silicon Strip Detectors (SSD)

The stave effort works naturally with the SSD effort as the stave design and SSD geometry and configuration go hand-in-hand.  The construction of a full scale stave relies also on the availability of the new SSD designs.  There is significant overlap with people in the SSD effort as well as physical adjacency with people.

- Front-end Electronics

The performance and protocols for a new front end chip (to replace the ABCD-3T) are closely coupled to the stave effort since the stave integrates the data transmission and power distribution features. All the reliability and failure mode issues must be addressed in concert with the FEE development.

- Development of DC-DC converters for the ATLAS ID upgrade

This proposal to the Steering Group overlaps strip and pixel needs.  Efforts here are partly included in the present proposal as well.

- New efforts

New efforts addressing cooling, overall mechanics, alignment monitoring, and powering would be logical to connect to the stave effort, and are to be expected.

- National Programs

There are national upgrade programs in existence or being put in place. The funding of this proposal will come from these programs.

USA

# 5 Open issues

# Beyond the overall mechanics, cooling, and powering aspects and their new R&D efforts, there are open questions within the stave aspect as well.  First and foremost this proposal does not address endcap structures.  When an endcap design emerges a connection should be made.  Even in the SCT the assembly process developed by the endcap groups in the UK was adopted by many of the barrel groups as well. Another open issue concerns the implementation of  Z coordinate readout on the inner staves.  The design discussed here uses short 3 cm detectors but only reads the phi coordinate.  If called for by the layout and simulation studies this must be considered in detail. For the outer staves, stereo is already  included in the design.  Another open issue which couples directly to the stave specification is alignment and monitoring.  If track data is used to monitor stave positions on a “long” timescale, some specification could be relaxed if a good rad-hard monitoring procedure were introduced for short term measurements.

# 6  Schedule

The preliminary schedule for the LHC upgrade requires that the detector upgrades start procurement of parts like stave components in the 2009 time frame. Thus starting in 2006, a three-year R&D program to develop a stave design, components, and an assembly process ready for fabrication would be consistent with that schedule.. The schedule is shown in Table III. The project logically divides into the following phases.

Phase 1 (2006) Test of simplified prototype stave

Mechanical and cooling design study

Begin mechanics and cooling tests

Study of powering options, inclusion into an iteration of simplified prototype

Develop DAQ components

Phase 2 (2007) Complete test of mechanics and cooling prototypes

Design and development of full scale stave

Phase 3 (2008) Complete full scale staves

Testing of full scale staves

Development of production-like assembly tooling and procedures

Table III: Preliminary Schedule of R&D for Staves

| Year | 2006 | 2007 | 2008 |
| --- | --- | --- | --- |
| Quarter | 1.1. | 4.1. | 7.1. | 10.1. | 1.1. | 4.1. | 7.1. | 10.1. | 1.1. | 4.1. | 7.1. | 10.1. |
| Task: |  |  |  |  |  |  |  |  |  |  |  |  |
| Basic Stave |  |  |  |  |  |  |  |  |  |  |  |  |
| Assemble | x | x |  |  |  |  |  |  |  |  |  |  |
| Test |  | x | x | x |  |  |  |  |  |  |  |  |
| Powering |  |  |  |  |  |  |  |  |  |  |  |  |
| Design | x | x |  | x | x |  |  |  |  |  |  |  |
| Assemble |  | x | x | x |  | x | x |  |  |  |  |  |
| Test |  |  | x | x | x |  | x | x | x |  |  |  |
| Mech+Cool |  |  |  |  |  |  |  |  |  |  |  |  |
| Design | x | x |  |  | x | x |  |  |  |  |  |  |
| Assemble |  | x | x | x |  | x | x | x |  |  |  |  |
| Test |  |  |  |  | x | x | x | x | x | x |  |  |
| Full Staves |  |  |  |  |  |  |  |  |  |  |  |  |
| Design |  | x | x | x | x | x |  |  | x |  |  |  |
| Assemble |  |  |  |  | x | x | x | x |  | x | x |  |
| Test |  |  |  |  |  |  | x | x | x | x | x | x |
| DAQ |  |  |  |  |  |  |  |  |  |  |  |  |
| Design | x | x | x |  |  |  |  |  |  |  |  |  |
| Test |  | x | x | x | x |  |  |  |  |  |  |  |
| Assembly |  |  |  |  |  |  |  |  |  |  |  |  |
| Design |  |  |  |  | x | x | x | x |  |  |  |  |
| Prototype |  |  |  |  |  |  |  | x | x | x | x | x |

# 6        Resources

As mentioned above, the resources for the proposed R&D activities originate in the national R&D programs. In the following (Table IV) is a list identifying FTE (the total number of physicists, technical personal, students), and the approximate amount of funding available per year. The funding status is identified as funded (F) or proposed (P).

Table IV: Resources (averaged per year)

| Year | # of FTE | Funds [k€] | Status F / P |
| --- | --- | --- | --- |
| year 1 | 8 | 300 | F |
| year 2 | 10 | 500 | P |
| year 3 | 11 | 400 | P |

Acknowledgement:

Significant contributions were made by Marc Weber (RAL) to Section 3b and by Phil Allport (Liverpool) to Section 3d.

References.

- High-Luminosity Steering Group (ed. S. Tapprogge) “Outline of R&D activities for ATLAS at an upgraded LHC”, com-gen-2005-002.pdf

- Hartmut F.-W. Sadrozinski and Abe Seiden, “Tracking Detectors for the sLHC, the LHC Upgrade”, Nucl.Instrum.Meth.A541, 434-440, 2005.

- The CDF Run IIb Silicon Detector: Design, preproduction and performance, NIM A 556 (2006) 459-481

- T. Stockmanns, P. Fischer, F. Hügging, I. Peric, Ö. Runolfsson, N.  Wermes,  Serial powering of pixel modules, Nucl. Instr. and Meth. A 511, 174-179 (2003).

- Marc Weber, Giulio Villani, Mika Lammentausta, Serial powering for Silicon Strip  Detectors at SLHC, Proceedings of the 11th Workshop of Electronics for LHC and future Experiments.

- F. Anghinolfi, W. Dabrowski, A. Grillo, J. Kaplon, M. Weber, T. Weidberg, ABC-Next Specification Requirements – Proposal to the HLSG, in preparation.

- R. Ely, M. Garcia-Sciveres, Talk at ATLAS SLHC Tracker meeting, http://agenda.cern.ch/fullAgenda.php?ida=a053875, Genoa July 2005.

- Marc Weber, Novel powering schemes for the ATLAS SLHC Tracker - working document, November 2005.

- USA Patent US 6,514,616 B1, February 4, 2003: ‘A Thermal Management Device and  Method of making such a Device’, AA Carter, R De Oliveira and A Gandi

- P.P. Allport, G. Casse, P. Sutcliffe, J.J. Velthuis, J. Vossebeld, "Performance of P-type Micro-strip Detectors After Irradiation to 7.5×1015 p/cm2 '', IEEE Nuclear Science Symposium and Medical Imaging Conference, October 2004, Rome, Italy

# Footnotes

Unfilled PEEK produces a significant thermal gradient