ATLAS DISK SECTOR THERMAL QC

| DATE: November 10, 2003 | NAME: Jon/Tom |
| --- | --- |
| SECTOR NUMBER: 9007 |  |
| FRONT VOLTAGE(V): 13.67 | BACK VOLTAGE(V): 13.67 |
| FRONT CURRENT(I): 1.81 | BACK CURRENT(I): 1.81 |
| INLET TEMPERATURE(C): 20.0 | OUTLET TEMPERATURE(C): 20.8 |
| PUMP FLOW RATE(l/min):0.76 | CHILLER SET POINT(C): 20 |
| COMMENTS: |

FRONT PICTURE

BACK PICTURE