ATLAS DISK SECTOR THERMAL QC

| DATE: June 24, 2004 | NAME: Tom/Michael/Gil |
| --- | --- |
| SECTOR NUMBER: 9012 |  |
| FRONT VOLTAGE(V): 13.67 | BACK VOLTAGE(V): 13.70 |
| FRONT CURRENT(I): 1.65 | BACK CURRENT(I): 1.68 |
| INLET TEMPERATURE(C): 21.6 | OUTLET TEMPERATURE(C): 22.4 |
| PUMP FLOW RATE(l/min):0.76 | CHILLER SET POINT(C): 20 |
| COMMENTS: |

FRONT PICTURE

BACK PICTURE