ATLAS DISK SECTOR THERMAL QC

| DATE: March 1, 2005 | NAME: Tom/Jon/Gil |
| --- | --- |
| SECTOR NUMBER: 9024 |  |
| FRONT VOLTAGE(V): 13.67 | BACK VOLTAGE(V): 13.64 |
| FRONT CURRENT(I): 1.65 | BACK CURRENT(I): 1.68 |
| INLET TEMPERATURE(C): 22.4 | OUTLET TEMPERATURE(C): 23.4 |
| PUMP FLOW RATE(l/min):0.77 | CHILLER SET POINT(C): 18 |
| COMMENTS: IR20050301_0030 Back. Max 31.1 IR20050301_0031 Front Max 30.8 |

FRONT PICTURE

BACK PICTURE