ATLAS DISK SECTOR THERMAL QC

| DATE: April 5, 2005 | NAME: Tom/Michael |
| --- | --- |
| SECTOR NUMBER: 9026 |  |
| FRONT VOLTAGE(V): 13.62 | BACK VOLTAGE(V): 13.61 |
| FRONT CURRENT(I): 1.66 | BACK CURRENT(I): 1.70 |
| INLET TEMPERATURE(C): 19.4 | OUTLET TEMPERATURE(C): 20.2 |
| PUMP FLOW RATE(l/min):0.76 | CHILLER SET POINT(C): 18 |
| COMMENTS: IR20050405_0057 Back. Max 30.5 IR20050405_0058 Front Max 30.6 |

FRONT PICTURE

BACK PICTURE