ATLAS DISK SECTOR THERMAL QC

| DATE: | NAME: Gil |
| --- | --- |
| SECTOR NUMBER: 9052 |  |
| FRONT VOLTAGE(V): 13.71 | BACK VOLTAGE(V): 13.61 |
| FRONT CURRENT(I): 1.66 | BACK CURRENT(I): 1.70 |
| INLET TEMPERATURE(C): 19.6 | OUTLET TEMPERATURE(C): 20.4 |
| PUMP FLOW RATE(l/min):0.76 | CHILLER SET POINT(C): 18 |
| COMMENTS: No thermal QC done |

FRONT PICTURE

BACK PICTURE