ATLAS DISK SECTOR THERMAL QC

| DATE: Sep. 05,2003 | NAME: Jon/Gil |
| --- | --- |
| SECTOR NUMBER: ATLAS Sector B for cooling test |
| FRONT VOLTAGE(V): 20.84 | BACK VOLTAGE(V): 21.5 |
| FRONT CURRENT(I): 1.21 | BACK CURRENT(I): 1.13 |
| INLET TEMPERATURE(C): 23 | OUTLET TEMPERATURE(C): n/a |
| PUMP FLOW RATE(l/min): 0.76 | CHILLER SET POINT(C): 20 |
| COMMENTS:Front RTD reads 26.0C. Back RTD reads 24.4 |

FRONT PICTURE

BACK PICTURE