ATLAS DISK SECTOR THERMAL QC

| DATE: March 1, 2005 | NAME: Tom/Jon/Gil |
| --- | --- |
| SECTOR NUMBER: 9022 |  |
| FRONT VOLTAGE(V): 13.69 | BACK VOLTAGE(V): 13.68 |
| FRONT CURRENT(I): 1.63 | BACK CURRENT(I): 1.65 |
| INLET TEMPERATURE(C): 20.5 | OUTLET TEMPERATURE(C): 20.7 |
| PUMP FLOW RATE(l/min):0.77 | CHILLER SET POINT(C): 18 |
| COMMENTS: IR20050301_0026 Back. Max 31.3 IR20050301_0027 Front Max 31.6 |

FRONT PICTURE

BACK PICTURE