ATLAS DISK SECTOR THERMAL QC

| DATE: April 4, 2005 | NAME: Tom/Jon/Gil |
| --- | --- |
| SECTOR NUMBER: 9028 |  |
| FRONT VOLTAGE(V): 13.63 | BACK VOLTAGE(V): 13.61 |
| FRONT CURRENT(I): 1.66 | BACK CURRENT(I): 1.70 |
| INLET TEMPERATURE(C): 19.4 | OUTLET TEMPERATURE(C): 20.1 |
| PUMP FLOW RATE(l/min):0.76 | CHILLER SET POINT(C): 18 |
| COMMENTS: IR20050404_0055 Back. Max 29.7 IR20050404_0056 Front Max 29.2 |

FRONT PICTURE

BACK PICTURE