# WBS 1.1 - Maintenance, Operations and Upgrade Estimate

August 14, 2000

M. Gilchriese

# Introduction

This document contains a crude estimate of the Maintenance and Operations(M&O) costs associated with WBS 1.1. Only M&O personnel costs are estimated. It is assumed that M&O materials costs are covered by the CERN estimates. The current LHC schedule is assumed. Upgrade costs are also (very roughly(estimated under the assumptions given below.  The upgrade costs do not reflect the possibility to achieve luminosity greater than 1034 and the considerable R&D that would be required for tracking systems in such an eventuality.

# WBS 1.1.1 Pixel System

Part of the pixel system is delivered, installed and commissioned in FY04 and part in FY05. I assume both mechanical and electrical engineering labor will be required to maintain and operate the system after commissioning is complete. One FTE technician will be resident at CERN, augmented in FY04 and FY05 by 0.5 FTE traveling to CERN. It is assumed that 0.75 FTE technician resident in the US will be needed to support the CERN activity.

A major upgrade(replacement of the B-layer(s)) is assumed to occur with installation in FY07-FY08. Costs are crudely scaled from the current US contribution.

# WBS 1.1.2 Silicon Strip System

The US completes its deliverables by the end of FY03, although part of the system will be completed earlier. Electrical engineering labor is required after completion of the US deliverables. In this case we also assume 1.0 FTE technician resident at CERN supported by 0.75 technician in the US.

We assume two types of upgrades. First, a minor upgrade to provide spare modules using 0.25 micron(or non-Temic) electronics starting about FY07. Second, a major upgrade replacing the TRT with silicon in about FY10.

# WBS 1.1.3 ReadOut Drivers

Fabrication of the RODs is completed by the end of FY02. Engineering labor is required for maintenance oversight. We have assumed again a resident technician at CERN backed up by a part-time technician in the US.

We assume two types of upgrades. First, one associated with replacement of the pixel B-layer(s). Second, one associated with the addition of silicon, replacement of the TRT.

The associated costs are summarized in Table 1.

| WBS | Category | Description | Inst | FY03 | FY04 | FY05 | FY06 | FY07 | FY08 | FY09 | FY10 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 | Total |  |  | 925 | 2210 | 3735 | 5135 | 4325 | 7000 | 7025 | 3325 | 33680 |
|  | M&O Subotal |  |  | 400 | 885 | 885 | 835 | 625 | 625 | 625 | 625 | 5505 |
|  | Upgrade Subtotal |  |  | 525 | 1325 | 2850 | 4300 | 3700 | 6375 | 6400 | 2700 | 28175 |
| 1.1.1 | Total |  |  | 400 | 1535 | 2185 | 3185 | 1475 | 675 | 175 | 175 | 9805 |
|  | M&O Subotal |  |  | 0 | 435 | 435 | 385 | 175 | 175 | 175 | 175 | 1955 |
|  | Upgrade Subtotal |  |  | 400 | 1100 | 1750 | 2800 | 1300 | 500 |  |  | 7850 |
|  | M&O | ME | LBNL | 0 | 60 | 60 | 60 |  |  |  |  |  |
|  | M&O | EE | LBNL | 0 | 150 | 150 | 150 |  |  |  |  |  |
|  | M&O | Tech US |  |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |
|  | M&O | Tech CERN | LBNL | 0 | 150 | 150 | 100 | 100 | 100 | 100 | 100 |  |
|  | Upgrade | EE |  | 300 | 450 | 450 |  |  |  |  |  |  |
|  | Upgrade | ME |  | 0 | 250 | 300 | 300 | 300 |  |  |  |  |
|  | Upgrade | Fab costs |  | 100 | 400 | 1000 | 2500 | 1000 | 500 |  |  |  |
| 1.1.2 | Total |  |  | 300 | 450 | 1075 | 1075 | 1675 | 5800 | 5525 | 2025 | 17925 |
|  | M&O Subotal |  |  | 175 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 1750 |
|  | Upgrade Subtotal |  |  | 125 | 225 | 850 | 850 | 1450 | 5575 | 5300 | 1800 | 16175 |
|  | M&O | Tech US | LBNL/UCSC | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |
|  | M&O | Tech CERN | LBNL/UCSC | 50 | 100 | 100 | 100 | 100 | 100 | 100 | 100 |  |
|  | M&O | EE | UCSC | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 |  |
|  | Upgrade | EE |  | 125 | 125 | 250 | 250 | 250 | 125 |  |  |  |
|  | Upgrade | ME |  |  |  | 100 | 300 | 450 | 450 | 300 | 300 |  |
|  | Upgrade | Fab costs |  |  | 100 | 500 | 300 | 750 | 5000 | 5000 | 1500 |  |
| 1.1.3 | Total |  |  | 225 | 225 | 475 | 875 | 1175 | 525 | 1325 | 1125 | 5950 |
|  | M&O Subotal |  |  | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 1800 |
|  | Upgrade Subtotal |  |  | 0 | 0 | 250 | 650 | 950 | 300 | 1100 | 900 | 4150 |
|  | M&O | Tech US | Wisc/Iowa | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |
|  | M&O | Tech CERN | Wisc/Iowa | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |
|  | M&O | EE | Wisc/Iowa | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |
|  | Upgrade | EE |  |  |  | 150 | 500 | 300 | 300 | 500 | 300 |  |
|  | Upgrade | Tech |  |  |  | 100 | 150 | 150 |  |  |  |  |
|  | Upgrade | Fab costs |  |  |  |  |  | 500 |  | 600 | 600 |  |

Table 1. Estimate of M&O and upgrade cost for WBS 1.1 Silicon Subsystem.